PAKISTAN TELECOMMUNICATION COMPANY LIMITED

OFFICE OF THE GENERAL MANAGER NETWORK MANAGEMENT REGION LAHORE, 
2ND FLOOR, PT&T BUILDING, MAUJ-e-DARYA ROAD, LAHORE.
          
[image: image1.wmf]
TENDER DOCUMENTS 
FOR SUPPLY OF TOWERS SECTION & TOWER ACCESSORIES & INSTALLATION OF  1” DIA & 2” DIA GUYED TYPE TOWER ON GREEN FIELD OR ROOF TOP IN TECHNICAL CENTRAL ZONE

OFFICE OF THE GENERAL MANAGER NETWORK MANAGEMENT PTCL LAHORE
2ND FLOOR, PT&T BUILDING, MAUJ-e-DARYA ROAD, LAHORE.
Phone # 042-37112290   Fax# 042-37112291

[image: image2.wmf]
Tender Notice for Supply of Towers Section & Tower allied Accessories & Erection of 100 feet high (1” dia & 2” dia) guyed type tower on Green Field or Roof Top in Technical Central Zone.

Please submit the quotation for Supply of Towers Section & Tower allied Accessories & Erection of 100 feet high (1” dia & 2” dia) guyed type tower on Green Field or Roof Top in Technical Central Zone. 

The Tender Documents can be purchased from the office of the Senior Manager (Finance & Management Accounts _CTR Zonal office RTTS PTCL building Tufail Road Lahore Cantt. on payment of Rs.1000/- (non-refundable) through Cash /Demand Draft / Pay Order (issued in the name of Senior Manager (Finance & Management Accounts _CTR Zonal office RTTS PTCL building Tufail Road Lahore Cantt. 
Vendor will submit the tender with PKR 10,000/- as earnest money in the shape of Call Deposit / Demand Draft in the favor of Senior Manager (Finance & Management Accounts) CTR Lahore.

Bids for the subject work, completed in all respect should be dropped in Tender Box (laying at 2nd Floor, Room No. 202, PT&T Building, Mauj-E-Darya Road, Lahore) as per instructions mentioned in bid documents on     21-04 -2018   latest till 1600 hours. 
PTCL reserves the right to reject any or all bids and to annul the bidding process at any time, or award the work to multiple Vendors without thereby incurring any liability to the affected bidder(s) or any obligation to inform the affected bidder(s) on the grounds for this PTCL action.

All bidders must undergo Vendor Registration Process (if not yet registered with PTCL). These Vendor Registration forms can be downloaded from PTCL Web Sites (www.ptcl.com.pk/media). 
All correspondence in this regard including bid submission may be addressed to the undersigned.

Manager DRS Deployment Central.
O/O the General Manager Network Management Region Lahore
2nd Floor, Room No. 202, PT&T Building, Mauj-E-Darya Road, Lahore.
Tel: +92-42-35313966.,

Email: Qammar.tariq@ptcl.net.pk
SCOPE OF WORK

· Supply of 1” & 2” DIA Guyed Towers Section & Tower allied Accessories (Hot dipped galvanized)

· Construction of tower foundation on Green Field / Roof Top (with R.C.C 1:2:4) as per attached drawings).
· P/L class “A” concrete (R.C.C 1:2:4) in foundation.
· Erection of 1” dia & 2” dia guyed tower complete in all respect as per specifications.

· Painting 1” dia & 2” dia guyed tower along with material.
· Earthing of tower complete in all respect as per PTCL specifications and connected up to top of tower with lightening spike.

· Dismantling and Shifting of Existing 1” & 2” dia guyed mast tower.
TERMS & CONDITIONS
1. Separate sealed technical & commercial bids must be submitted by each vendor (The technical bids should not contain the prices at all and confirm the compliance of attached BoQ only) 

2.  Rates will be valid for 02 years. From the date of signing of frame contract are firm, final and no variation what so ever shall be acceptable to PTCL except variation in Tax & duty rates imposed by the Govt. of Pakistan and shall be followed on mutual understanding. 

3. PAYMENTS.

· 70% payment of PO shall be released on completion of Supply & Services and Offer for PAT. And BoQ verified by Manager DRS Deployment or Concerned Manager (Executer).
· 20% payment of PO shall be released upon completion of PAT.  
· 10% payment of PO shall be released upon Successful completion of warranty period (06 Moth) and Warranty will count from the Date of completion of Supply/ Services and offered for PAT.  
4. The following documents should be submitted for payments in this office 

· PO/Letter of Award issued by PTCL

· SAN /GRN duly signed by concern Manager, SM & GM.

· GST Invoice.
· BoQ Verified by QA.
5. Rates must be inclusive of all type of taxes. (GST, PRA & FBR Taxes)
6. Any additional requirement of items / modification in the work will be in addition to above work.

7. Any point not covered / left over can decided by negotiation if needed.

8. PTCL will be responsible for providing access to vender to site and work shall be executed under supervision of concerned Manager.

9. Vendor is responsible for any damage to existing tower & building etc. during execution of work.

10. Vendor will be responsible for removing of all discrepancies pointed out during PAT.

11. Vender will arrange all plants, labor, equipment, machinery appliances, materials, fittings and fixtures.

12. If the Contractor fails to deliver any or all of the goods or perform the services in accordance with the delivery milestones specified in the PO. PTCL shall have the right to terminate the contract forthwith or claim liquidated damages.

13. The contractor shall pay to PTCL as liquidated damages with respect to those delays in milestones as defined in the P.O. For payment milestones damages will be charged at one percent (1%) per day of delay & maximum of 10% of contract price. Once the maximum is reached, PTCL shall forthwith terminate the PO.

14.  Senior Engineer Development DRS Lahore will be fully responsible for qualitative and quantitative performance of works.

15. Quantities mentioned in BOQ are approximate and could be changed on site to site basis.

16. Vendor shall responsible for execution of job as per drawings, standards & BOQ. In case any deviation pointed by PTCL, PTCL reserve the right to stop, block, deduct the payments until execution of job as per specifications and no claim what so ever will be acceptable by vender and PTCL also reserve the right to cancel the PO and declare vender disqualified for future tenders/award of works.

17. Vendor shall be responsible for security of tower till acceptance of PAT.

Signature of Vender with Stamp
PERFORMANCE SECURITY FORM

FROM:
___________________


_____________________


_____________________

To,

The Senior Manager PMO
 Network Management Central
PTCL, Lahore

SUBJECT:
B/G AND DATE FOR _______________ ON BEHALF OF __________FOR DUE AND FAITHFUL PERFORMANCE CONTRACT NO. PUR________________     DATED_______________.



Whereas    M/S______________________ (hereinafter called the Contractor) have requested us to furnish a Bank Guarantee in your favor in the sum_____________ (IN WORDS) _________________________as performance security against Contract /Agreement No. Pur._____________ dated____________to be concluded between  the Contractor and Pakistan Telecommunication Company Limited Islamabad.



WE HEREBY AGREE:

1).

To make an un-conditional payment of __________ to you on demand without any further question or reference to the Contractor upon failure of the Contractor to perform the Contract on which you will be the sole judge.

2).

To keep this guarantee valid in full force from this date up to the time of the due and faithful completion of the contract under reference (the schedule of implementation shall be as described in the contract and its subsequent amendments) or till ___________whichever date is earlier. The faithful completion of the Contract by the contractor will be intimated by the PTCL.  

3).

To extend the period of the enforceability of this guarantee with out any question or reference to Contractor, if such extension be necessary due to extended warrant period and desired by you of us. All claims there under must be submitted to the Bank of________on or before the expiry date mentioned in this guarantee or the date mentioned in its extensions issued from time to time, after which this guarantee will become null and void and should be   returned to us. Irrespective of its return, we shall consider ourselves fully discharged from any obligation there under after the said expiry date.

Dated This Day of






Signature: ________________________






A Signature Authorized to Sign Contract on



 


 Behalf.

Witness: ______________________

______________________________


   ______________________

______________________________







Sworn & Sign before me 







this day of....      
20--.......






                                 by. ______________________
TECHNICAL / COMMERCIAL COMPLIANCE SHEET

(Separate Sheets)

	(CLAUSE / SUB-CLAUSE)
	COMPLIANCE
	REMARKS

	1
	2
	3


The Compliance Sheet is meant for stating the tender's compliance / non-compliance on all clauses and it is divided into three columns. The tender shall complete the Compliance Sheets strictly in accordance with the instructions given below:
	Column-1 :
	For specifying the clause number to which the information in column 2 and 3 applies.



	Column-2 :
	For stating whether the tender's offered terms and conditions conforms to the clause in column-1 by using one of the following symbols.



	A) :
	The tender's offered terms and condition fully conforms to the clause in column-1.



	B) :
	The tender's offered terms and conditions do not fully conform to the clause in column-1.



	Column-3 :
	State the alternative only if the Symbol B has been used in Column-2. The benefit which PTCL will have if such alternative is accepted must be stated.


BOQ OF CONSTRUCTION OF FOUNDATION, ERECTION, PAINTING, EARTHING & TRANSPORTATION OF 100 FEET HIGH 1" DIA GUYED TYPE TOWER AT TECHNICAL CENTRAL ZONE
	S No.
	Description


	Unit
	Rate in PKR
	PRA Tax (16%)
	Total Cost

	1
	Construction of Tower Foundation & Plaster (Roof Top) Pit Size 2'x2'x2'(Concrete ratio. 1:2:4) (Optional)
 
	Pit
	 
	
	 

	2
	Construction of Tower Foundation & Plaster.
 Pit Size 3'x3'x4'  ( Concert ratio. 1:2:4) on Green Field
 
	Pit
	 
	
	 

	3
	Construction of Tower Foundation & Plaster.
 Pit Size 3'x3'x7'  ( Concert ratio. 1:2:4) on Green Field


	Pit
	
	
	

	4
	Construction of Tower Foundation & Plaster (Roof Top)Pit Size 2'x2'x18”(Concrete ratio.1:2:4) Centre Pit
	Pit
	
	
	

	5
	Construction of Tower Foundation & Plaster. (Roof Top) Pit Size 1’x1'x1’ (Concrete ratio. 1:2:4)  Guy Pit
	Pit
	
	
	

	6
	Erection of 1” dia guyed mast tower complete in all respect as per specifications at site

 
	Foot
	 
	
	 

	7
	Installation of Ant twist (Stabilizer)

 
	Job
	 
	
	 

	8
	Painting of feet high 1” dia guyed mast tower including Material.

 
	Foot
	 
	
	 

	9
	Transportation of Tower Sections, Tower material from Jauhar Town Exchange to actual site or wise versa or from site to site in Technical Central Zone.
	Up to 100 KM
	Job
	 
	
	 

	
	
	Up to 200 KM
	Job
	 
	
	 

	
	
	Up to 400 KM
	Job
	 
	
	 

	
	
	More than 400 KM
	Job
	 
	
	 

	10
	Installation of Feeder Cable Horizontal Rack along with vertical support

 
	Foot
	 
	
	 

	11
	Installation of Feeder Cable Horizontal Rack wall mounted along with all installation material

 
	Foot
	 
	
	 

	12
	Dismantling of spare 1" dia spare Guy Tower

 
	Foot
	 
	
	 

	13
	Construction of Earthing pit for tower Earthing including material complete in all respect as per PTCL specifications.  (Digging / boring, re-filling, Copper Wire, Earthing material, Copper plate, Copper Bus Bar, Thimble, GI Pipe, Man Hole etc.). Result must be less than 5 Ω.
	Job
	
	
	

	14
	Laying , Fixing  & connecting of Earth cable from Earth pit Lightening arrestor at Top of Tower
	Foot
	
	
	

	 
	Total:
	
	 

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	Signature of Vender with Stamp


BOQ OF CONSTRUCTION OF FOUNDATION, ERECTION, PAINTING, EARTHING & TRANSPORTATION OF 100 FEET HIGH 2" DIA GUYED TYPE TOWER AT TECHNICAL CENTRAL ZONE
	S No.
	Description
	Unit
	Rate in Pak Rupees
	PRA Tax (16%)
	Total Cost

	1
	Construction of 2” dia G/Tower foundation pits (As per Drawing) on Green Field.

 
	Per Pit
	 
	
	 

	2
	Construction of 2” dia G/Tower foundation 04 pits (for Rooftop) 
 
	Per Pit
	 
	
	 

	3
	Erection of 2” dia Guyed Tower

 
	Per Foot
	 
	
	 

	4
	Installation of Antitwist (Stabilizer)

 
	Per Job
	 
	
	 

	5
	Painting (including material) of 2” dia G/Tower
	Per Foot
	 
	
	 

	6
	Transportation of Tower Sections & Tower material from Jauhar Town Exchange Lahore to actual site or wise versa or site to site in Technical Central Zone
	Up to 100 KM
	Per Job
	 
	
	 

	
	
	Up to 200 KM
	Per Job
	 
	
	 

	
	
	Up to 400 KM
	Per Job
	 
	
	 

	
	
	More than 400 KM
	Per Job
	 
	
	 

	7
	Installation of Feeder Cable Horizontal Rack along with vertical support

 
	Per Foot
	 
	
	 

	8
	Installation of Feeder Cable Horizontal Rack wall mounted along with all installation material 

 
	Per Foot
	 
	
	 

	9
	Installation of Tower Light on Tower Top.
	Job
	
	
	

	10
	Installation of Feeder Cable Horizontal Rack wall mounted along with all installation material (Optional)
 
	Per Foot
	 
	
	 

	11
	Dismantling of 2" dia spare Guy Tower

 
	Per Foot
	 
	
	 

	12
	 Construction of Earthing pit for tower Earthing including material complete in all respect as per PTCL specifications.  (Digging / boring, re-filling, Copper Wire, Earthing material, Copper plate, Copper Bus Bar, Thimble, GI Pipe, Man Hole etc.). Result must be less than 5 Ω.
	Per Job
	 
	
	 

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	Signature of Vender with Stamp


	B.O.Q FOR SUPPLY OF 1" DIA PIPE GUYED TYPE TOWERS  MATERIAL FOR TECHNICAL CENTRAL ZONE  (Low weight)

	
	
	
	
	
	

	S No.
	Description
	Unit
	Unit Price

	
	
	
	Pre-sales tax
	Sales Tax @ 17%
	Total PKR

	1
	Supply of Tower Section (Hot dipped galvanized) as per attached drawing & Specifications.)
	Each
	 
	 
	 

	2
	Stabilizer (Anti twist (Hot dipped galvanized) as per attached drawing & Specification.)
	Set
	
	
	

	3
	Centre Bolt with nuts & washers complete set (pivot) (Hot dipped galvanized) as per attached drawing & Specification.) for Green Field 
	Each
	
	
	

	4
	Centre Bolt with nuts & washers complete set (pivot) Hot dipped galvanized 1” Dia 2ft long Hook on lower sites and 2-1/2“long Treads on top. For roof top.
	Each
	
	
	

	5
	Center Bolt with nuts & washers complete set (pivot) (hot dipped galvanized) 1” dia 5ft long hook on lower sites and 2-1/2” long threads on top. 
	Each
	
	
	

	6
	Tower Anchor Rods (For 1” dia 5ft long Guys on Green Field) with Nut-washers as per attached drawing & Specification.) for Green Field.
	Each
	 
	 
	 

	7
	Tower Anchor Rods for roof top. 1” dia 2ft long with hook on lower side & Eye on top.
	Each
	 
	 
	 

	8
	Tower Anchorage rod for green field 1” dia 7ft long hook on lower side & Eye on top. 
	Each
	
	
	

	9
	Base Plate Hot dipped Galvanized as per attached drawing & Specification.). 
	Each
	 
	 
	 

	10
	Connection bolts + Nuts + Spring washer M12x55 
	Each
	 
	 
	 

	11
	Guy Plates Hot Dipped Galvanized  as per attached drawing & Specification
	Each
	 
	 
	 

	11
	Guy Wire Rope    dia 7/14 SWG  (galvanized) 
	Meter
	 
	 
	 

	12
	D-Shakles size 17.5mmStd.(Galvanized)
	Each
	 
	 
	 

	13
	U-Shakles size 12mmStd.(Galvanized)
	Each
	 
	 
	 

	14
	Turn Buckle 20 mm (Galvanized) 
	Each
	 
	 
	 

	15
	Turn Buckle  16  mm (Galvanized)
	Each
	 
	 
	 

	16
	Thimble size 13mm Std.(Galvanized) .
	Each
	
	
	

	17
	Bulldog grip size 07mm Std.
	Each
	 
	 
	 

	18
	Copper wire 50mm sq. Yellow Green PVC insulated from man hole Bus Bar to Lightening Spike.
	Meter
	 
	 
	 

	19
	Copper Lightening Arrester 1/2" dia 900mm long with 2 copper nuts 1 copper spring washer. 
	Each
	 
	 
	 

	20
	Copper Earthing Bus Bars size 12"x2"x3/8" with 7/16" dia holes along with Bakelite Insulator and copper nut + washers 
	Each
	 
	 
	 

	 
	Total:
	 
	 
	 


Signature of Vender with Stamp
	B.O.Q FOR SUPPLY OF 2" DIA PIPE GUYED TYPE TOWERS & TOWER MATERIAL FOR TECHNICAL CENTRAL ZONE

	S No.
	Description
	Unit
	Unit Price

	
	
	
	Pre-sales tax
	Sales Tax @ 17%
	Total (PKR)

	1
	Tower Section Bottom Segment (Hot dipped galvanized) as per attached drawing
	Each
	 
	 
	 

	2
	Tower Section Upper Segments (Hot dipped galvanized) as per attached drawing
	Each
	 
	 
	 

	3
	Stabilizer (anti twist) (Hot dipped galvanized) as per attached drawing.
	Set
	 
	 
	 

	4
	Tower Anchorage (Pivot) (Hot dipped galvanized) as per attached drawing.
	Set
	 
	 
	 

	5
	Tower Anchorage (Guys) (Hot dipped galvanized)
	Each
	 
	 
	 

	6
	Tower Anchorage (Pivot for Rooftop) (Hot dipped galvanized) as per attached drawing.
	Set
	 
	 
	 

	7
	Tower Anchorage (Guys for Rooftop) (Hot dipped galvanized)
	Each
	 
	 
	 

	8
	Supply of Guy Plates
	Each
	 
	 
	 

	9
	Supply of Base Plate.
	Each
	 
	 
	 

	10
	Guy Wire Rope dia 12mm ( galvanized) as per attached drawing.
	Meters
	 
	 
	 

	11
	Connection bolts + Nuts + Plain washer M16x60 as per attached drawing.
	Each
	 
	 
	 

	12
	D-Shackles  size 24 Std.(Galvanized) as per attached drawing.
	Each
	 
	 
	 

	13
	Turn buckle (Galvanized) as per attached drawing.
	Each
	 
	 
	 

	14
	Thimble size 1-1/2" Std.(Galvanized) as per attached drawing.
	Each
	 
	 
	 

	15
	Bulldog grip size 1-1/2" Std.as per attached drawing.
	Each
	 
	 
	 

	16
	Copper wire 50mm.Yellow Green  PVC insulated from man hole Bus Bar to Lightening Spike..
	Meters
	 
	 
	 

	17
	Copper Lightening Arrester 5/8" dia 1250mm long with 2 copper nuts 1 copper spring washer attached. as shown in the drawing
	Each
	 
	 
	 

	18
	Copper Earthing Bus Bars size 12"x2"x3/8" with 7/16" dia holes along with Bacullite Insulator and copper nut + washers as per attached drawing
	Each
	 
	 
	 

	19
	Obstruction Light consisting of colored glass with rubber seal, heavy duty clips & clamps with 4mm dia nuts / bolts to hold the glass, heavy duty G.I chain 225mm long along with G.I pipe and fittings, clamps to connect with tower pipe, junction box, Energy saver Lamp 60W/220V housed fixture with dock line holder and 10mm dia holes in the base for ventilation complete set.
	Each
	 
	 
	 


	
	
	
	
	
	

	20
	Photoelectric 6 Amp switch
	Each
	 
	 
	 

	21
	4 sq. mm (7/0.229) Cu/PVC cable single core (Pakistan Cables) Red, Black and Blue .
	Meter
	 
	 
	 

	22
	20mm (3/4" dia G.I pipe with sockets, clamps for tightening with tower and bends for tower light etc. complete as shown in drawing
	 Meter
	 
	 
	 

	23

	Supply of 1-1/2” dia PVC flexible pipe
	Meter

	
	
	

	24

	Supply of clamp for  1-1/2” dia PVC flexible pipe
	Each
	
	
	

	25
	Supply of 1” dia PVC  pipe
	Meter
	
	
	

	26
	Supply of clamp for  1” dia PVC f pipe
	Each
	
	
	

	 27
	Supply of hot dipped galvanized Horizontal Feeder Rack (Cable Bridge) and its supports complete in all respect as shown in the drawing( (in 10 feet piece )
	Per Feet 
	 
	 
	 

	28
	Supply of 70MM PVC Earthing Cable
	Meter
	
	
	

	29
	Supply of 50MM PVC Earthing Cable
	Meter
	
	
	

	30
	Supply of hot dipped galvanized Vertical  Feeder Rack for Vertical Support to  (Cable Bridge)  complete in all respect as shown in the drawing.
	Per Feet 
	 
	 
	 

	31
	Supply of hot dipped galvanized L-type supports for internal Horizontal Feeder Rack with angle iron size 2"x2"x3/16", 600mm long one side complete in all respect as shown in the drawing
	Each
	 
	 
	 

	 
	Total:
	 
	 
	 


Signature of Vender with Stamp

PAGE  
2

_1248701038.bmp




