IN THE NAME OF ALLAH THE MOST BENEFICIENT AND MOST MERCIFUL

PAKISTAN TELECOMMUNICATION COMPANY LIMITED

### TENDER DOCUMENTS

### FOR

ITEMIZED TENDER  FOR SHIFTING/ RELOCATION OF ONU, POWER CONNECTION/ EARTHING, CIVIL AND ALLIED WORKS  FOR MSAG ONU IN KARACHI

SENIOR ENGINEER

DEV-V, DEV (TX&SW) SOUTH KARACHI,

OLD CTO BUILDING, I.I. CHUNDRIGAR ROAD

PTCL KARACHI

INSTRUCTION TO BIDDER

OFFER SUBMISSION

Sealed Offers

Bidders participating in tenders are requested to enclose two separate sealed envelopes in one covering envelope.

Technical  Offer

One Sealed envelope shall contain the technical offer (un-priced bid) along with company profile, compliance statement, evidence of bid bond (un-priced), delivery period for the execution of work  and all other technical details . This envelope shall be clearly marked as “TECHNICAL OFFER”.

Commercial Offer

Second sealed envelope shall contain the commercial offer (price bid) with the cost breakdown as per the Company price schedule / bill of quantity (BOQ). This envelope shall be clearly marked as “ COMMERCIAL OFFER”.

Both of the above mentioned sealed envelopes must bear PTCL request for proposal (RFP)/ request for quotation (RFQ) reference number. No other details such as name of renderer or any other reference shall mention on these envelopes.

The sealed offer is to be deposited in the relevant tender box located at Regional Office or any other designated office mentioned in the tender documents.

Tender Opening

The bidders shall not be allowed to attend any Tender Opening Committee meetings. T.O.C. meetings shall be conducted in strict confidence by the PTCL committee members and thus must not to be revealed to any external party of any kind whatsoever.

IN THE NAME OF ALLAH THE MOST BENEFICIENT AND MOST MERCIFUL

PAKISTAN TELECOMMUNICATION COMPANY LIMITED

### TENDER DOCUMENTS

### FOR

ITEMIZED TENDER  FOR SHIFTING/ RELOCATION OF ONU, POWER CONNECTION/ EARTHING, CIVIL AND ALLIED WORKS  FOR MSAG ONU IN KARACHI

TECHNICAL OFFER

SENIOR ENGINEER

DEV-V, DEV (TX&SW) SOUTH KARACHI,

OLD CTO BUILDING, I.I. CHUNDRIGAR ROAD

PTCL KARACHI

Technical Offer

## PAKISTAN TELECOMMUNICATION COMPANY LIMITED

### TERMS AND CONDITIONS

ITEMIZED TENDER  FOR SHIFTING/ RELOCATION OF ONU, POWER CONNECTION/ EARTHING, CIVIL AND ALLIED WORKS  FOR MSAG ONU IN KARACHI

- The contractors registered with PTCL for this particular category would be eligible to participate in the Itemized Tender for one year period. The bidders in this regard are  advised to attach copy of their payment receipt of pre-qualification fee.

- The firm/contractor shall deposit equivalent to 2% along with the Tender, as earnest money in shape of CDR in the favor of SM Finance PTCL Karachi. The earnest money / CDR should be put in the envelope of commercial proposal and photo copy be attached in technical proposal.

- For the purpose of bid it must be kept in view that the items must be according to the detailed specifications enclosed herewith. Item, fixed service provided must be in good physical condition and fixed according to the PTCL specifications. The cost of any subsequent process required for the accomplishment of the job would be considered being included within the rates specified. The contractor may be asked to do the quoted jobs/supplies anywhere within the jurisdiction of General Manager, Dev (TX&SW) South Karachi, which includes KTR-I/II/III Karachi  of PTCL, would be mentioned in the work order. No additional charges on account of transportation would be allowed.

- The Tender may be received from the DDO Office, 3rd Floor CTH Bldg, Karachi during working hours from 25-05-2013  to 31-05-2013 on payment of Rs.1000/- (Non refundable) with the cashier of the SM Finance office.  Bids may be submitted to the office of Senior Engineer Dev-V Room No. 213 2nd Floor CTH Bldg, Karachi till 11:00 hours on  06-06-2013.

- Bids should be neatly written in with permanent ink. (02) Two copies of bids are required i.e. one copy should be without rates along with company profile and compliance statement duly signed (Technical Proposal)  and other copy bearing rates (Commercial Bid) should be separately sealed. Bids written with pencil and bearing cuttings/overwriting will not be accepted. The copy without rates should be marked as technical proposal (The earnest money/CDR should be included in this envelope) and on cover of other sealed copy containing rates should be clearly written as commercial bid. Both i.e. technical and commercial envelops should be put in third sealed envelopes.

- Bids will be assessed on the basis of technical and commercial evaluation and technical proposal will be processed first. For this purpose individual / collective offer, which ever will be in the interest of PTCL may be considered for acceptance. However PTCL reserves the right to accept or reject anyone or all the bids without assigning any reason.

- Earnest money of all the bidders except three lowest responsive once will be released as early as the assessment of the bids is finalized. While the earnest money of the three  lowest responsive bidders would be retained till the approval of the bid by the competent authority followed by issuance of the letter of intent to the lowest responsive bidder and his consequent written acceptance accompanied with performance security amounting to rupees 100,000/= (Rupees one hundred thousand only) in the shape of pay order or bank guarantee duly pledged in favor of S.M. (Finance) PTCL Karachi. The itemized tender agreement would be for one year period from the date of signing the agreement/contract and the work will be awarded as per the requirement from time to time within the validity period of contract/agreement. In case of the acceptance of the offer from the lowest responsive bidder, who here in after would be called contractor, the earnest money of the remaining two bidders will be also released.

- While in case of failure of the lowest bidder to accept the offer within one week, his earnest money will be forfeited and the offer would be made to the second lowest one.

- Rule 8 & 9 above may similarly be applied to the second and third bidder.

- The earnest money of the contractor would be released upon receipt of performance security bond, the same will be retained till the completion of the work, and the performance bond should be valid for 12 months.

- The earned money of the contractor would be released upon receipt of performance security bond, the same will be retained till the completion of the work and the performance bond should be valid for twelve months after completion of contract.

- Number of items may vary as per need.

- The work must be completed according to the schedule mentioned in the work order, in case of any delay in the completion of work except for Force Majeure (Refer clause for definition of Force Majeure), the penalty @ Rs. 1% of PO amount per day per  site shall be imposed on the contractor.  And in case of the failure of the contractor to fulfill the job within fifteen days after the due date mentioned in the work order not only the performance security would be forfeited but also PTCL reserves the right to black list such bidder for definite / indefinite period of time. However in case of force majeure, the work in-charge may waive off the said penalty, but the decision in this regard will be upon his own discretion.

- If the supplied items are found to be out of specification or not matching with the sample, if provided, the concerned work in-charge would be authorized to reject any/all items and in this regard his decision would be final. In this regard the work in-charge is authorized to collect the sample from the material under installation/installed during his visit to verify the work.

- The contractor is advised to observe the safety precautions, any mishap/damage to PTCL property/public property/private property etc. due to negligence of the contractor or his representative or any of his worker would not only be borne by the contractor but PTCL reserves the right to reject such work.

- After the successful completion of the total job or after the completion of an independent work, if the contractor likes to, he may raise bill. 80% of the billed amount will be paid upon completion of work after vetted by Q/A & remaining 20% will be paid after removal of deficiencies vetted by Q/A and upon handing over the works to end user or operations.

- The work order must be accompanied with the bill. Further, the certification of the work in-charge regarding quality/quantity of the material supplied/quality of the workmanship will be necessary.

- Taxes will be deducted from contractor’s bills as per prevailing laws of the Government of Pakistan. All rates mentioned are considered to be inclusive of all kind of tax deductible at the source.

- In case of any dispute between the contractor and PTCL in connection with the supply of items, the Senior Manager, Dev-I, Karachi will hear both the parties and will forward the case along with his recommendation to the General Manager, DEV (TX&SW) South, Karachi who will refer it to the arbitration committee comprising of GM Dev (TX&SW) South Karachi, GM Finance Karachi & GM Quality Assurance Karachi and the decision of the committee will be final.

- The rates quoted/accepted and all other term and conditions mentioned in this  Tender will remain unchanged during the period of validity of the bid. All the terms and conditions mentioned herein shall be binding upon the contractor.

- This Tender will be valid for (01) one year(s) from date of approval and work orders will be placed subject to requirements under the jurisdiction of G.M. Dev (TX&SW) South, Karachi.

- The PTCL reserves the right to cancel the contract with out assigning any reason.

I hereby solemnly declare that I have carefully read/understood all clauses mentioned above and the same are acceptable to me in letter and sprit for this Itemized Tender.

#### Contractor

#### Contractor Name & signature with seal				 Senior Engineer, DEV-V

Dev (TX&SW) South Karachi.

DETAILS OF WORK

ITEMIZED TENDER  FOR SHIFTING/ RELOCATION OF ONU, POWER CONNECTION/ EARTHING, CIVIL AND ALLIED WORKS  FOR MSAG ONU IN KARACHI

1-	SCOPE

This tender covers all the works ITEMIZED TENDER  FOR SHIFTING/ RELOCATION OF ONU, POWER CONNECTION/ EARTHING, CIVIL AND ALLIED WORKS  FOR MSAG ONU IN KARACHI

### All the works shall be as per PTCL technical specification.

The quotation shall be complete in all respects and ready for use condition according to the functional and technical specifications as specified. Any material and services omitted from lists, which may be reasonably implied and obviously necessary for the completion and efficient performance of the contract / tender.

2-	WARRANTY

The contractor warrants that all relevant supplied material and services under the contract. The contractor further warrants that all new items supplied under this contract shall have no defect in material or workmanship as per PTCL technical specification.

3-	TRANSPORTATION

The Transportation of all items to be required for the jobs already mentioned in BOQ, would be responsibility of vendor and to collect the store items for further transportation at the proposed sites including loading / unloading / reloading of leftover material to be delivered at concerned switching divisional store after completion of job.

4	SUPPLY OF ITEMS BY VENDOR.

Vendor will arrange / Supply the required items as mentioned in the BOQ attached including warning tape, slabs etc and miscellaneous items to be required for the completion of job.

5	TECHNICAL SPECIFICATION.

The specification of supply of Testing Equipment should confirm by PTCL Technical Specification.

Technical Offer

Clause by clause compliance statement

The bidder shall furnish a clause by clause compliance for each clause / sub-clause of this specification. The bidder shall provide technical description in detail for each compliance statement. The clauses which need description / figures must be provided otherwise bid will be considered non compliant.

- “Fully compliant”, if the units offered fully meet the tender requirement.

- “Partially compliant”, if the items and their functions meet the tender requirement partially, the bidder shall state the reason for partially compliant. However, if the bidder is able to fulfill the specified requirement later on the time schedule be mentioned in the other.

- “Non compliant”, if the items and their functions not meet the requirements, the bidder shall state the reason for it.

- In case of unclear statement of compliance for any specified requirement, PTCL will interpret that particular requirement as “Non compliant”.

The bidder shall include in this proposal the detailed technical information, drawings to support the compliance to the technical requirements.

- For every clause, the bidder must mention in the same table the reference of document (document name / number and page number) where evidence has been provided in support of the clause.

| Clause / Sub Clause # | Compliance statement (C/PC/NC)* | Reference (Document & Page #) | Remarks (if any) |
| --- | --- | --- | --- |

*	C	for 	Complaint

PC	for	Partially compliant

NC	for	Not compliant

Technical Offer

COMPLIANCE STATEMENT

| S.No. | Clause of Statement | Compliance | Remarks |
| --- | --- | --- | --- |
| 1 | Scope |  |  |
| 2 | Warranty |  |  |
| 3 | Technical Specification |  |  |
| 4 | Compliance with PTCL Speciation |  |  |

Name of Company:		____________________________

Name of Contractor:		____________________________

Signature with company seal:	____________________________

IN THE NAME OF ALLAH THE MOST BENEFICIENT AND MOST MERCIFUL

PAKISTAN TELECOMMUNICATION COMPANY LIMITED

### TENDER DOCUMENTS

### FOR

ITEMIZED TENDER  FOR SHIFTING/ RELOCATION OF ONU, POWER CONNECTION/ EARTHING, CIVIL AND ALLIED WORKS  FOR MSAG ONU IN KARACHI

COMMERCIAL  OFFER

SENIOR ENGINEER

DEV-V, DEV (TX&SW) SOUTH KARACHI,

OLD CTO BUILDING, I.I. CHUNDRIGAR ROAD

PTCL KARACHI

COMMERCIAL OFFER

ITEMIZED TENDER  FOR SHIFTING/ RELOCATION OF ONU, POWER CONNECTION/ EARTHING, CIVIL AND ALLIED WORKS  FOR MSAG ONU IN KARACHI

| Items/ Service Description of Shifting of ONU (INDOOR) |  |  |  |  |
| --- | --- | --- | --- | --- |
| S # | Description / Supply | Unit | Unit Rate | Remarks |
| SUPPLY |  |  |  |  |
| 1 | Supply of 2 Core Power Cable (16mm) | Meter |  |  |
| 2 | Supply of 4 Core Power Cable (16mm) | Meter |  |  |
| 3 | Supply of 7/36 Power Cable | Meter |  |  |
| 4 | Supply of Steel Rope wire for laying/ supporting of overhead power cable | Meter |  |  |
| 5 | Supply of chage over switch for 3 phase with generator hook up connection | Each |  |  |
| 6 | Supply of PVC Pipe 2" Dia | Meter |  |  |
| 7 | Supply of Flexible PVC 1 " Dia | Meter |  |  |
| 8 | Supply of G.I. Elbow 1 " Dia | Each |  |  |
| 9 | Supply of G.I. Pipe 1" Dia | Meter |  |  |
| 10 | Supply of Alumnium Patitioning with 4" wide 2 mm thick silver dual finish premium quality & 5mm imported tinted glass aluminum partition | Sq. ft. |  |  |
| 11 | Supply of alumnium door with fully glazed silver anodized almunium doors rubber gasket, hanless and buil in locking arrangement | Sq. ft. |  |  |
| 12 | Supply of door closer in position automatic | Each |  |  |
| 13 | Supply of gypsum board celing in 2x2 panels including alloy tee hanging with its origional hanging mechanism complete in all respect | Sq. ft. |  |  |
| 14 | Supply of vinyle tiles of approved colors shade make and design on existing cemented floor including dessing, leveling and cleaning complete in all respect | Sq. ft. |  |  |
| 15 | Supply of double rod 2x2 Philips tube light panel with wire and duct etc (4x20 W) | Each |  |  |
| 16 | Supply of one way light switch with wire and duct etc | Each |  |  |
| 17 | Supply of socket (16A) with wire and duct etc. (round or flat type) (Clipsal) | Each |  |  |
| 18 | Supply of socket (5A) with wire and duct etc. (round or flat type) | Each |  |  |
| 19 | Supply of ICI/Berger plastic emulsion paint on specified internal plastered and ceiling works of approved color and shade including surface preparation, sand papering primer and filling etc complete in all respect | Sq. ft. |  |  |
| 20 | Supply of AC DB wall mounted option complete in all aspect (Incoming: 01 No 63A TP) (Outgoing: 02 No 25 ATP,03 No 25 ASP,03 No 16ASP,03 No 10ASP ) | Each |  |  |
| 21 | Supply of iron cage of power meter | Each |  |  |
| SERVICES |  |  |  |  |
| 1 | Dismetalling of KESC Power Connection | Each |  |  |
| 2 | Dismentling of Equipment Connection | Each |  |  |
| 3 | Shifting/ transportation of ONU with allied accesseries | Each |  |  |
| 4 | Installation and fixing of ONU with allied accesseries | Each |  |  |
| 5 | Dismentaling and installation of 2x1 ton split AC unit | Each |  |  |
| 6 | Dismentaling and installation of Fire Alarm System | Each |  |  |
| 7 | Installation of AC DB wall mounted option complete in all aspect (Incoming: 01 No 63A TP) (Outgoing: 02 No 25 ATP,03 No 25 ASP,03 No 16ASP,03 No | Each |  |  |
| 8 | Earthing/ Grounding | Each |  |  |
| 9 | Service Charges for Laying of O/H Power Cable with making of steel rope wire (from ONU to KESC Pole) with connectivity in ONU Breaker & main power supply Meter on KESC. | Meter |  |  |
| 10 | Excavation, backfilling and Laying of underground PVC pipe with warning tape (Depth upto 3 feet) | Meter |  |  |
| 11 | Installation of iron cage for power meter | Each |  |  |
|  | Installation of GI pipe for supporting power cable wih ONU cage | Each |  |  |
| 12 | Service charges laying of under ground power cable | Meter |  |  |
| 13 | Service Charges for Laying of O/H Power Cable without steel rope wire (from ONU to KESC Pole) with connectivity in ONU Breaker & main power supply Meter on KESC. | Meter |  |  |
| 14 | Service Charges for Installation of Pole for supporting of Power Cable. | Each |  |  |
| 15 | Service Charges for process of KESC Kunda Connection | Each |  |  |
| 16 | Processing of demand note for KESC meter installation | Each |  |  |
| 17 | Installation of change over switch for 3 phase with generator hook up connection | Each |  |  |
| 18 | Fixing of Alumnium Patitioning with 4" wide 2 mm thick silver dual finish premium quality & 5mm imported tinted glass aluminum partition | Sq. ft. |  |  |
| 19 | Fixing of alumnium door with fully glazed silver anodized almunium doors rubber gasket, hanless and buil in locking arrangement | Sq. ft. |  |  |
| 20 | Fixing of door closer in position automatic | Each |  |  |
| 21 | Fixing of gypsum board celing in 2x2 panels including alloy tee hanging with its origional hanging mechanism complete in all respect | Sq. ft. |  |  |
| 22 | Fixing of vinyle tiles of approved colors shade make and design on existing cemented floor including dessing, leveling and cleaning complete in all respect | Sq. ft. |  |  |
| 23 | Installation of double rod 2x2 Philips tube light panel with wire and duct etc (4x20 W) | Each |  |  |
| 24 | Installation of one way light switch with wire and duct etc | Each |  |  |
| 25 | Installation off socket (16A) with wire and duct etc. (round or flat type) (Clipsal) | Each |  |  |
| 26 | Installation of socket (5A) with wire and duct etc. (round or flat type) | Each |  |  |
| 27 | Applying 2 coat ICI/Berger plastic emulsion paint on specified internal plastered and ceiling works of approved color and shade including surface preparation, sand papering primer and filling etc complete in all respect | Sq. ft. |  |  |
| 28 | Making break of cable entery size 300x300 mm through in wall with complete in all respect | Each |  |  |
| 29 | Making of 9' bricks wall with sand cement ratio 1:4 inlcluding plaster | Sq. ft. |  |  |

| Items/ Service Description of Shifting of ONU (OUTDOOR) |  |  |  |  |
| --- | --- | --- | --- | --- |
| S # | Description / Supply | Unit | Unit Rate | Remarks |
| SUPPLY |  |  |  |  |
| 1 | Supply of 2 Core Power Cable (16mm) | Meter |  |  |
| 2 | Supply of 4 Core Power Cable (16mm) | Meter |  |  |
| 3 | Supply of 7/36 Power Cable | Meter |  |  |
| 4 | Supply of Steel Rope wire for laying/ supporting of overhead power cable | Meter |  |  |
| 5 | Supply of chage over switch for 3 phase with generator hook up connection | Each |  |  |
| 6 | Supply of PVC Pipe 2" Dia | Meter |  |  |
| 7 | Supply of Flexible PVC 1 " Dia | Meter |  |  |
| 8 | Supply of G.I. Elbow 1 " Dia | Each |  |  |
| 9 | Supply of G.I. Pipe 1" Dia | Meter |  |  |
| 10 | Supply of ONU cage with locks | Each |  |  |
| 11 | Supply of ONU base/ plinth (with side cover) | Each |  |  |
| 12 | Supply of iron cage of power meter | Each |  |  |
| SERVICES |  |  |  |  |
| 1 | Dismantling of Cage Out-Door ONU | Each |  |  |
| 2 | Dismetalling of KESC Power Connection | Each |  |  |
| 3 | Dismentling of Equipment Connection | Each |  |  |
| 4 | Shifting/ transportation of ONU with Cage, base and allied accesseries | Each |  |  |
| 5 | Installation and fixing of ONU with Cage, base and allied accesseries | Each |  |  |
| 6 | Earthing/ Grounding (Less than 5 ohms) | Each |  |  |
| 7 | Service Charges for Laying of O/H Power Cable without steel rope wire (from ONU to KESC Pole) with connectivity in ONU Breaker & main power supply Meter on KESC. | Meter |  |  |
| 8 | Service Charges for Laying of O/H Power Cable with making of steel rope wire (from ONU to KESC Pole) with connectivity in ONU Breaker & main power supply Meter on KESC. | Meter |  |  |
| 9 | Excavation, backfilling and Laying of underground PVC pipe with warning tape (Depth upto 3 feet) | Meter |  |  |
| 10 | Installation of iron cage for power meter | Each |  |  |
|  | Installation of GI pipe for supporting power cable wih ONU cage | Each |  |  |
| 11 | Service charges laying of under ground power cable | Meter |  |  |
| 12 | Service Charges for attachement of PVC/ GI Pipe with Clamps (Wall/ Ceiling) for laying installation of Power Cable | Meter |  |  |
| 13 | Service Charges for Installation of Pole for supporting of Power Cable. | Each |  |  |
| 14 | Service Charges for process of KESC Kunda Connection | Each |  |  |
| 15 | Processing of demand note for KESC meter installation | Each |  |  |
| 16 | Reparing of plinth (if required) | Each |  |  |
| 17 | Installation of change over switch for 3 phase with generator hook up connection | Each |  |  |
| 18 | Installation of ONU cage with locks | Each |  |  |
| 19 | Installation of ONU base/ plinth with side cover with leveling of ground and other work as required | Each |  |  |

I/We hereby certify and confirm that while quoting above unit price rates for providing above noted items. I have carefully read the tender specification, B.O.Q. general and detailed terms and conditions of the tender document and other details. In confirmation there of I put my Signature and Seal on this Itemized Tender Bid as under on this day of _______________________ this Itemized Tender agreement would be for one Year.

Signature of Contractor ____________________